## Table
SPECTRO3-DLS-Scope V3.2 scan frequencies
Scan frequencies in DC or OFF operation:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Scan frequencies were measured with INTEGRAL=1. When INTEGRAL is increased, the scan frequency decreases acc. to the formela below:
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 31000 | 26500 | 20500 | 14200 | 8750 | 5000 | 2650 | 1375 | 702 | 354 | 178 | 89 | 44.5 | 22.25 | 11 | 5.5
MAXCOL-No. | 2 | 21304.6705 | 19078.199 | 15757.8366 | 11750.5313 | 7753.9988 | 4658.0958 | 2550.7699 | 1347.7948 | 694.8394 | 352.1699 | 177.5361 | 88.8839 | 44.4709 | 22.2427 | 10.9982 | 5.4996
MAXCOL-No. | 3 | 16229.007 | 14904.0517 | 12797.463 | 10021.7939 | 6961.5721 | 4359.9581 | 2458.7031 | 1321.6452 | 687.8235 | 350.3586 | 177.0746 | 88.768 | 44.4419 | 22.2355 | 10.9964 | 5.4991
MAXCOL-No. | 4 | 13106.4924 | 12228.5493 | 10773.4836 | 8736.4831 | 6316.0934 | 4097.6889 | 2373.0507 | 1296.491 | 680.9478 | 348.5658 | 176.6155 | 88.6525 | 44.413 | 22.2282 | 10.9947 | 5.4987
MAXCOL-No. | 5 | 10991.6605 | 10367.4376 | 9302.2834 | 7743.3821 | 5780.1559 | 3865.1824 | 2293.1652 | 1272.2764 | 674.2082 | 346.7913 | 176.1588 | 88.5373 | 44.384 | 22.221 | 10.9929 | 5.4982
MAXCOL-No. | 6 | 9464.4929 | 8997.9967 | 8184.6129 | 6953.0133 | 5328.056 | 3657.6445 | 2218.4829 | 1248.9497 | 667.6007 | 345.0348 | 175.7044 | 88.4224 | 44.3551 | 22.2137 | 10.9911 | 5.4978
MAXCOL-No. | 7 | 8309.9226 | 7948.1242 | 7306.7108 | 6309.0474 | 4941.5485 | 3471.258 | 2148.5116 | 1226.4631 | 661.1214 | 343.2959 | 175.2524 | 88.3077 | 44.3263 | 22.2065 | 10.9894 | 5.4973
MAXCOL-No. | 8 | 7406.4163 | 7117.648 | 6598.8965 | 5774.2543 | 4607.3243 | 3302.9462 | 2082.8192 | 1204.7718 | 654.7668 | 341.5745 | 174.8026 | 88.1934 | 44.2974 | 22.1992 | 10.9876 | 5.4969
MAXCOL-No. | 9 | 6680.1131 | 6444.3018 | 6016.1056 | 5323.0411 | 4315.4468 | 3150.2016 | 2021.0248 | 1183.8344 | 648.5331 | 339.8703 | 174.3552 | 88.0794 | 44.2686 | 22.192 | 10.9858 | 5.4964
MAXCOL-No. | 10 | 6083.5368 | 5887.3451 | 5527.9011 | 4937.2345 | 4058.3474 | 3010.9599 | 1962.7914 | 1163.6124 | 642.417 | 338.183 | 173.9101 | 87.9656 | 44.2399 | 22.1848 | 10.984 | 5.496
MAXCOL-No. | 11 | 5584.7806 | 5419.0013 | 5112.9845 | 4603.5739 | 3830.1598 | 2883.5063 | 1907.8199 | 1144.0696 | 636.4151 | 336.5124 | 173.4672 | 87.8522 | 44.2112 | 22.1776 | 10.9823 | 5.4956
MAXCOL-No. | 12 | 5161.6083 | 5019.6809 | 4756.0053 | 4312.1564 | 3626.2666 | 2766.4048 | 1855.8437 | 1125.1724 | 630.5244 | 334.8582 | 173.0266 | 87.739 | 44.1825 | 22.1703 | 10.9805 | 5.4951
MAXCOL-No. | 13 | 4798.0486 | 4675.1725 | 4445.6203 | 4055.4373 | 3442.9842 | 2658.4432 | 1806.6244 | 1106.8893 | 624.7417 | 333.2202 | 172.5882 | 87.6262 | 44.1539 | 22.1631 | 10.9787 | 5.4947
MAXCOL-No. | 14 | 4482.3338 | 4374.9154 | 4173.2659 | 3827.5675 | 3277.3377 | 2558.5918 | 1759.9484 | 1089.1909 | 619.0642 | 331.5981 | 172.1521 | 87.5136 | 44.1253 | 22.1559 | 10.977 | 5.4942
MAXCOL-No. | 15 | 4205.6024 | 4110.8981 | 3932.3558 | 3623.9429 | 3126.8985 | 2465.9696 | 1715.6234 | 1072.0495 | 613.4889 | 329.9918 | 171.7181 | 87.4013 | 44.0967 | 22.1487 | 10.9752 | 5.4938
MAXCOL-No. | 16 | 3961.0539 | 3876.933 | 3717.7418 | 3440.8894 | 2989.6643 | 2379.8191 | 1673.4763 | 1055.4394 | 608.0131 | 328.4009 | 171.2863 | 87.2893 | 44.0682 | 22.1415 | 10.9734 | 5.4933
MAXCOL-No. | 17 | 3743.3827 | 3668.1653 | 3525.3412 | 3275.4396 | 2863.9696 | 2299.4849 | 1633.3504 | 1039.336 | 602.6342 | 326.8253 | 170.8567 | 87.1776 | 44.0397 | 22.1343 | 10.9717 | 5.4929
MAXCOL-No. | 18 | 3548.3886 | 3480.7325 | 3351.8749 | 3125.1706 | 2748.4177 | 2224.3972 | 1595.1037 | 1023.7167 | 597.3496 | 325.2647 | 170.4292 | 87.0662 | 44.0112 | 22.1271 | 10.9699 | 5.4925
MAXCOL-No. | 19 | 3372.7033 | 3311.5231 | 3194.6791 | 2988.0847 | 2641.8284 | 2154.0582 | 1558.6072 | 1008.5599 | 592.157 | 323.719 | 170.0039 | 86.955 | 43.9828 | 22.1199 | 10.9681 | 5.492
MAXCOL-No. | 20 | 3213.5941 | 3158.0026 | 3051.567 | 2862.52 | 2543.198 | 2088.0314 | 1523.7434 | 993.8454 | 587.0538 | 322.1879 | 169.5807 | 86.8442 | 43.9544 | 22.1128 | 10.9664 | 5.4916
MAXCOL-No. | 21 | 3068.8208 | 3018.0857 | 2920.7272 | 2747.0827 | 2451.6671 | 2025.9319 | 1490.4052 | 979.554 | 582.0378 | 320.6712 | 169.1596 | 86.7336 | 43.9261 | 22.1056 | 10.9646 | 5.4911
MAXCOL-No. | 22 | 2936.5293 | 2890.041 | 2800.6459 | 2640.5949 | 2366.4958 | 1967.4195 | 1458.4945 | 965.6679 | 577.1068 | 319.1688 | 168.7406 | 86.6233 | 43.8978 | 22.0984 | 10.9628 | 5.4907
MAXCOL-No. | 23 | 2815.1721 | 2772.4189 | 2690.0487 | 2542.0549 | 2287.0436 | 1912.1921 | 1427.9217 | 952.1699 | 572.2587 | 317.6803 | 168.3236 | 86.5133 | 43.8695 | 22.0913 | 10.9611 | 5.4902
MAXCOL-No. | 24 | 2703.4475 | 2663.9966 | 2587.8545 | 2450.6048 | 2212.753 | 1859.9807 | 1398.6044 | 939.0441 | 567.4913 | 316.2057 | 167.9087 | 86.4036 | 43.8413 | 22.0841 | 10.9593 | 5.4898
MAXCOL-No. | 25 | 2600.2523 | 2563.7354 | 2493.1408 | 2365.506 | 2143.1371 | 1810.5446 | 1370.4666 | 926.2752 | 562.8028 | 314.7446 | 167.4958 | 86.2941 | 43.8131 | 22.0769 | 10.9575 | 5.4894
MAXCOL-No. | 26 | 2504.6457 | 2470.7473 | 2405.1153 | 2286.1191 | 2077.7679 | 1763.6684 | 1343.4387 | 913.849 | 558.191 | 313.2971 | 167.085 | 86.1849 | 43.7849 | 22.0698 | 10.9558 | 5.4889
MAXCOL-No. | 27 | 2415.8204 | 2384.2685 | 2323.0936 | 2211.8876 | 2016.2684 | 1719.1583 | 1317.4562 | 901.7517 | 553.6542 | 311.8628 | 166.6762 | 86.076 | 43.7568 | 22.0626 | 10.954 | 5.4885
MAXCOL-No. | 28 | 2333.0795 | 2303.6387 | 2246.4818 | 2142.3252 | 1958.3049 | 1676.8395 | 1292.4597 | 889.9705 | 549.1906 | 310.4415 | 166.2694 | 85.9674 | 43.7287 | 22.0555 | 10.9522 | 5.488
MAXCOL-No. | 29 | 2255.8186 | 2228.2839 | 2174.7617 | 2077.0048 | 1903.5809 | 1636.5541 | 1268.3941 | 878.4932 | 544.7984 | 309.0332 | 165.8645 | 85.8591 | 43.7007 | 22.0484 | 10.9505 | 5.4876
MAXCOL-No. | 30 | 2183.5107 | 2157.7028 | 2107.4794 | 2015.5498 | 1851.8323 | 1598.1589 | 1245.2083 | 867.3082 | 540.4759 | 307.6375 | 165.4616 | 85.751 | 43.6726 | 22.0412 | 10.9487 | 5.4872
MAXCOL-No. | 31 | 2115.6944 | 2091.4558 | 2044.2353 | 1957.627 | 1802.8227 | 1561.524 | 1222.8549 | 856.4043 | 536.2214 | 306.2544 | 165.0607 | 85.6432 | 43.6447 | 22.0341 | 10.947 | 5.4867
SF=Scan frequency from table
SFN=New scan frequency depending on INTEGRAL and AVERAGE settings
The scan frequencies in PULSE operation are equal to the scan frequencies in AC operation but pulse operation is 5x slower.
Scan frequencies in AC operation at AMP1:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Scan frequencies were measured with INTEGRAL=1. When INTEGRAL is increased, the scan frequency decreases acc. to the formula below:
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 25000 | 18200 | 12000 | 7150 | 4000 | 2100 | 1060 | 540 | 270 | 135 | 67.5 | 34.25 | 17.12 | 8.6 | 4.3 | 2.15
MAXCOL-No. | 2 | 18231.5406 | 14327.6626 | 10185.028 | 6463.7004 | 3775.7221 | 2036.492 | 1043.5731 | 535.7042 | 268.9218 | 134.7299 | 67.4324 | 34.2326 | 17.1156 | 8.5989 | 4.2997 | 2.1499
MAXCOL-No. | 3 | 14347.2023 | 11814.0392 | 8846.9478 | 5897.6125 | 3575.2592 | 1976.7124 | 1027.6476 | 531.4762 | 267.8521 | 134.4609 | 67.365 | 34.2152 | 17.1113 | 8.5978 | 4.2995 | 2.1499
MAXCOL-No. | 4 | 11827.3211 | 10050.7508 | 7819.6273 | 5422.6953 | 3395.0093 | 1920.3424 | 1012.2008 | 527.3144 | 266.7909 | 134.1929 | 67.2976 | 34.1978 | 17.107 | 8.5967 | 4.2992 | 2.1498
MAXCOL-No. | 5 | 10060.3622 | 8745.4591 | 7006.0719 | 5018.5652 | 3232.0621 | 1867.0982 | 997.2116 | 523.2173 | 265.7381 | 133.926 | 67.2304 | 34.1805 | 17.1026 | 8.5956 | 4.2989 | 2.1497
MAXCOL-No. | 6 | 8752.7352 | 7740.2343 | 6345.8488 | 4670.4934 | 3084.0401 | 1816.7269 | 982.6598 | 519.1833 | 264.6936 | 133.6602 | 67.1634 | 34.1631 | 17.0983 | 8.5945 | 4.2986 | 2.1497
MAXCOL-No. | 7 | 7745.9334 | 6942.2723 | 5799.3427 | 4367.5725 | 2948.9826 | 1769.002 | 968.5265 | 515.2111 | 263.6572 | 133.3955 | 67.0965 | 34.1458 | 17.0939 | 8.5934 | 4.2984 | 2.1496
MAXCOL-No. | 8 | 6946.8565 | 6293.4621 | 5339.5034 | 4101.5521 | 2825.2578 | 1723.7204 | 954.7941 | 511.2992 | 262.6289 | 133.1317 | 67.0297 | 34.1285 | 17.0896 | 8.5923 | 4.2981 | 2.1495
MAXCOL-No. | 9 | 6297.2292 | 5755.5595 | 4947.2296 | 3866.0769 | 2711.4967 | 1680.6992 | 941.4456 | 507.4463 | 261.6086 | 132.869 | 66.963 | 34.1112 | 17.0853 | 8.5912 | 4.2978 | 2.1495
MAXCOL-No. | 10 | 5758.71 | 5302.366 | 4608.6489 | 3656.1716 | 2606.5424 | 1639.7731 | 928.4653 | 503.651 | 260.5963 | 132.6074 | 66.8965 | 34.0939 | 17.0809 | 8.5901 | 4.2975 | 2.1494
MAXCOL-No. | 11 | 5305.0398 | 4915.3321 | 4313.4436 | 3467.8857 | 2509.4103 | 1600.7928 | 915.8379 | 499.9121 | 259.5917 | 132.3468 | 66.8301 | 34.0767 | 17.0766 | 8.589 | 4.2973 | 2.1493
MAXCOL-No. | 12 | 4917.6297 | 4580.9558 | 4053.7801 | 3298.0427 | 2419.2573 | 1563.6227 | 903.5495 | 496.2282 | 258.5948 | 132.0872 | 66.7639 | 34.0594 | 17.0723 | 8.5879 | 4.297 | 2.1492
MAXCOL-No. | 13 | 4582.9514 | 4289.1753 | 3823.6044 | 3144.0595 | 2335.3573 | 1528.1396 | 891.5865 | 492.5983 | 257.6056 | 131.8286 | 66.6977 | 34.0422 | 17.0679 | 8.5868 | 4.2967 | 2.1492
MAXCOL-No. | 14 | 4290.9247 | 4032.3385 | 3618.1632 | 3003.8136 | 2257.0816 | 1494.2312 | 879.936 | 489.021 | 256.6239 | 131.571 | 66.6317 | 34.025 | 17.0636 | 8.5857 | 4.2964 | 2.1491
MAXCOL-No. | 15 | 4033.8846 | 3804.5228 | 3433.6729 | 2875.5452 | 2183.8829 | 1461.7949 | 868.5862 | 485.4954 | 255.6496 | 131.3145 | 66.5659 | 34.0078 | 17.0593 | 8.5847 | 4.2962 | 2.149
MAXCOL-No. | 16 | 3805.8991 | 3601.0724 | 3267.0841 | 2757.7828 | 2115.2829 | 1430.737 | 857.5254 | 482.0202 | 254.6827 | 131.0589 | 66.5001 | 33.9907 | 17.055 | 8.5836 | 4.2959 | 2.149
MAXCOL-No. | 17 | 3602.3055 | 3418.2769 | 3115.9119 | 2649.2864 | 2050.8614 | 1400.9713 | 846.7428 | 478.5944 | 253.7232 | 130.8043 | 66.4345 | 33.9735 | 17.0506 | 8.5825 | 4.2956 | 2.1489
MAXCOL-No. | 18 | 3419.3879 | 3253.1428 | 2978.1109 | 2549.0037 | 1990.2478 | 1372.419 | 836.2279 | 475.217 | 252.7708 | 130.5507 | 66.369 | 33.9564 | 17.0463 | 8.5814 | 4.2953 | 2.1488
MAXCOL-No. | 19 | 3254.149 | 3103.2284 | 2851.9821 | 2456.0361 | 1933.1142 | 1345.0071 | 825.971 | 471.8869 | 251.8255 | 130.2981 | 66.3037 | 33.9393 | 17.042 | 8.5803 | 4.2951 | 2.1488
MAXCOL-No. | 20 | 3104.144 | 2966.5223 | 2736.1029 | 2369.6113 | 1879.1694 | 1318.6689 | 815.9627 | 468.6032 | 250.8873 | 130.0465 | 66.2385 | 33.9222 | 17.0377 | 8.5792 | 4.2948 | 2.1487
MAXCOL-No. | 21 | 2967.3591 | 2841.3526 | 2629.2726 | 2289.0621 | 1828.1536 | 1293.3424 | 806.194 | 465.3648 | 249.956 | 129.7958 | 66.1734 | 33.9051 | 17.0334 | 8.5781 | 4.2945 | 2.1486
MAXCOL-No. | 22 | 2842.1202 | 2726.3181 | 2530.4711 | 2213.8091 | 1779.8345 | 1268.9704 | 796.6564 | 462.1709 | 249.0317 | 129.5461 | 66.1084 | 33.888 | 17.0291 | 8.577 | 4.2942 | 2.1486
MAXCOL-No. | 23 | 2727.0248 | 2620.2357 | 2438.8261 | 2143.3464 | 1734.0038 | 1245.4999 | 787.3419 | 459.0205 | 248.1141 | 129.2974 | 66.0436 | 33.871 | 17.0248 | 8.5759 | 4.294 | 2.1485
MAXCOL-No. | 24 | 2620.8885 | 2522.0996 | 2353.5873 | 2077.2309 | 1690.4742 | 1222.8819 | 778.2427 | 455.9128 | 247.2033 | 129.0496 | 65.9789 | 33.854 | 17.0205 | 8.5748 | 4.2937 | 2.1484
MAXCOL-No. | 25 | 2522.7043 | 2431.049 | 2274.1055 | 2015.0722 | 1649.0765 | 1201.0707 | 769.3514 | 452.8469 | 246.2991 | 128.8028 | 65.9143 | 33.837 | 17.0162 | 8.5737 | 4.2934 | 2.1484
MAXCOL-No. | 26 | 2431.6109 | 2346.3435 | 2199.8167 | 1956.5255 | 1609.6579 | 1180.0239 | 760.6609 | 449.8219 | 245.4016 | 128.5569 | 65.8498 | 33.82 | 17.0119 | 8.5726 | 4.2931 | 2.1483
MAXCOL-No. | 27 | 2346.8669 | 2267.3421 | 2130.2279 | 1901.2848 | 1572.0799 | 1159.702 | 752.1646 | 446.8371 | 244.5105 | 128.3119 | 65.7855 | 33.803 | 17.0076 | 8.5715 | 4.2929 | 2.1482
MAXCOL-No. | 28 | 2267.8308 | 2193.4873 | 2064.9069 | 1849.0778 | 1536.2163 | 1140.0682 | 743.856 | 443.8917 | 243.6259 | 128.0679 | 65.7213 | 33.786 | 17.0033 | 8.5704 | 4.2926 | 2.1481
MAXCOL-No. | 29 | 2193.9447 | 2124.2921 | 2003.4727 | 1799.6612 | 1501.9525 | 1121.0882 | 735.7289 | 440.9848 | 242.7477 | 127.8248 | 65.6572 | 33.7691 | 16.999 | 8.5694 | 4.2923 | 2.1481
MAXCOL-No. | 30 | 2124.7211 | 2059.329 | 1945.5884 | 1752.8172 | 1469.1839 | 1102.7298 | 727.7776 | 438.1157 | 241.8758 | 127.5826 | 65.5933 | 33.7522 | 16.9947 | 8.5683 | 4.2921 | 2.148
MAXCOL-No. | 31 | 2059.7322 | 1998.2214 | 1890.9549 | 1708.35 | 1437.8145 | 1084.9629 | 719.9962 | 435.2838 | 241.0101 | 127.3414 | 65.5294 | 33.7353 | 16.9904 | 8.5672 | 4.2918 | 2.1479
SF=Scan frequency from table
SFN=New scan frequency depending on INTEGRAL and AVERAGE settings
Scan frequencies in AC operation at AMP2:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 22800 | 15400 | 9350 | 5200 | 2775 | 1450 | 730 | 365 | 185 | 95 | 47.5 | 23.75 | 11.87 | 6 | 3 | 1.5
MAXCOL-No. | 2 | 17047.4937 | 12541.5337 | 8213.4261 | 4828.4059 | 2665.5268 | 1419.5367 | 722.1974 | 363.0389 | 184.4949 | 94.8666 | 47.4666 | 23.7417 | 11.8679 | 5.9995 | 2.9999 | 1.5
MAXCOL-No. | 3 | 13612.9156 | 10578.0855 | 7323.2244 | 4506.3783 | 2564.3632 | 1390.3272 | 714.5598 | 361.0987 | 183.9925 | 94.7336 | 47.4333 | 23.7333 | 11.8658 | 5.9989 | 2.9997 | 1.4999
MAXCOL-No. | 4 | 11330.2059 | 9146.1966 | 6607.1201 | 4224.6198 | 2470.5977 | 1362.2954 | 707.0821 | 359.1791 | 183.4928 | 94.601 | 47.4 | 23.725 | 11.8637 | 5.9984 | 2.9996 | 1.4999
MAXCOL-No. | 5 | 9703.1186 | 8055.7415 | 6018.59 | 3976.0215 | 2383.4473 | 1335.3717 | 699.7592 | 357.2799 | 182.9958 | 94.4687 | 47.3668 | 23.7167 | 11.8617 | 5.9979 | 2.9995 | 1.4999
MAXCOL-No. | 6 | 8484.6681 | 7197.607 | 5526.3313 | 3755.0549 | 2302.2359 | 1309.4916 | 692.5865 | 355.4006 | 182.5016 | 94.3368 | 47.3336 | 23.7083 | 11.8596 | 5.9973 | 2.9993 | 1.4998
MAXCOL-No. | 7 | 7538.0872 | 6504.6969 | 5108.508 | 3557.3555 | 2226.3763 | 1284.5955 | 685.5593 | 353.541 | 182.0099 | 94.2053 | 47.3005 | 23.7 | 11.8575 | 5.9968 | 2.9992 | 1.4998
MAXCOL-No. | 8 | 6781.5162 | 5933.4833 | 4749.4235 | 3379.4323 | 2155.3565 | 1260.6284 | 678.6733 | 351.7008 | 181.521 | 94.0741 | 47.2674 | 23.6917 | 11.8554 | 5.9963 | 2.9991 | 1.4998
MAXCOL-No. | 9 | 6162.9617 | 5454.4939 | 4437.5047 | 3218.4591 | 2088.7276 | 1237.5393 | 671.9242 | 349.8796 | 181.0346 | 93.9433 | 47.2344 | 23.6834 | 11.8533 | 5.9957 | 2.9989 | 1.4997
MAXCOL-No. | 10 | 5647.8142 | 5047.0622 | 4164.0317 | 3072.124 | 2026.0946 | 1215.2807 | 665.3081 | 348.0772 | 180.5509 | 93.8129 | 47.2014 | 23.6751 | 11.8513 | 5.9952 | 2.9988 | 1.4997
MAXCOL-No. | 11 | 5212.1434 | 4696.2674 | 3922.3089 | 2938.5172 | 1967.1085 | 1193.8087 | 658.821 | 346.2932 | 180.0697 | 93.6828 | 47.1684 | 23.6668 | 11.8492 | 5.9947 | 2.9987 | 1.4997
MAXCOL-No. | 12 | 4838.874 | 4391.0673 | 3707.1105 | 2816.0471 | 1911.4598 | 1173.0822 | 652.4591 | 344.5275 | 179.5911 | 93.5531 | 47.1355 | 23.6585 | 11.8471 | 5.9941 | 2.9985 | 1.4996
MAXCOL-No. | 13 | 4515.4953 | 4123.1151 | 3514.2977 | 2703.3771 | 1858.873 | 1153.0632 | 646.219 | 342.7797 | 179.115 | 93.4238 | 47.1026 | 23.6502 | 11.845 | 5.9936 | 2.9984 | 1.4996
MAXCOL-No. | 14 | 4232.6314 | 3885.9842 | 3340.5504 | 2599.3761 | 1809.1022 | 1133.7159 | 640.0971 | 341.0495 | 178.6414 | 93.2948 | 47.0698 | 23.642 | 11.843 | 5.9931 | 2.9983 | 1.4996
MAXCOL-No. | 15 | 3983.1172 | 3674.6459 | 3183.1738 | 2503.0807 | 1761.9271 | 1115.0072 | 634.0901 | 339.3366 | 178.1704 | 93.1661 | 47.0371 | 23.6337 | 11.8409 | 5.9926 | 2.9981 | 1.4995
MAXCOL-No. | 16 | 3761.3831 | 3485.1091 | 3039.9584 | 2413.6651 | 1717.1498 | 1096.906 | 628.1948 | 337.641 | 177.7018 | 93.0378 | 47.0043 | 23.6254 | 11.8388 | 5.992 | 2.998 | 1.4995
MAXCOL-No. | 17 | 3563.0345 | 3314.1657 | 2909.0751 | 2330.4173 | 1674.5921 | 1079.383 | 622.4081 | 335.9621 | 177.2357 | 92.9099 | 46.9717 | 23.6172 | 11.8367 | 5.9915 | 2.9979 | 1.4995
MAXCOL-No. | 18 | 3384.5569 | 3159.2077 | 2788.9967 | 2252.7206 | 1634.0928 | 1062.4112 | 616.727 | 334.2999 | 176.772 | 92.7823 | 46.939 | 23.6089 | 11.8347 | 5.991 | 2.9977 | 1.4994
MAXCOL-No. | 19 | 3223.1068 | 3018.0929 | 2678.4384 | 2180.0376 | 1595.5061 | 1045.9647 | 611.1487 | 332.6541 | 176.3107 | 92.6551 | 46.9064 | 23.6007 | 11.8326 | 5.9904 | 2.9976 | 1.4994
MAXCOL-No. | 20 | 3076.3585 | 2889.0456 | 2576.3112 | 2111.8981 | 1558.6998 | 1030.0197 | 605.6704 | 331.0243 | 175.8518 | 92.5282 | 46.8739 | 23.5924 | 11.8305 | 5.9899 | 2.9975 | 1.4994
MAXCOL-No. | 21 | 2942.3911 | 2770.5815 | 2481.686 | 2047.8891 | 1523.5533 | 1014.5536 | 600.2895 | 329.4105 | 175.3954 | 92.4017 | 46.8414 | 23.5842 | 11.8284 | 5.9894 | 2.9973 | 1.4993
MAXCOL-No. | 22 | 2819.6047 | 2661.4498 | 2393.7655 | 1987.646 | 1489.9569 | 999.545 | 595.0033 | 327.8123 | 174.9412 | 92.2755 | 46.809 | 23.576 | 11.8264 | 5.9888 | 2.9972 | 1.4993
MAXCOL-No. | 23 | 2706.6555 | 2560.5895 | 2311.8615 | 1930.846 | 1457.8102 | 984.9741 | 589.8094 | 326.2296 | 174.4895 | 92.1496 | 46.7766 | 23.5678 | 11.8243 | 5.9883 | 2.9971 | 1.4993
MAXCOL-No. | 24 | 2602.407 | 2467.0947 | 2235.3768 | 1877.2021 | 1427.0214 | 970.8218 | 584.7054 | 324.662 | 174.04 | 92.0241 | 46.7442 | 23.5595 | 11.8222 | 5.9878 | 2.9969 | 1.4992
MAXCOL-No. | 25 | 2505.891 | 2380.187 | 2163.7909 | 1826.4584 | 1397.5061 | 957.0704 | 579.689 | 323.1095 | 173.5929 | 91.899 | 46.7119 | 23.5513 | 11.8202 | 5.9872 | 2.9968 | 1.4992
MAXCOL-No. | 26 | 2416.2781 | 2299.1938 | 2096.6476 | 1778.3858 | 1369.1871 | 943.7032 | 574.7579 | 321.5717 | 173.148 | 91.7741 | 46.6796 | 23.5431 | 11.8181 | 5.9867 | 2.9967 | 1.4992
MAXCOL-No. | 27 | 2332.8531 | 2223.5313 | 2033.5459 | 1732.7788 | 1341.993 | 930.7043 | 569.91 | 320.0485 | 172.7054 | 91.6497 | 46.6474 | 23.5349 | 11.816 | 5.9862 | 2.9965 | 1.4991
MAXCOL-No. | 28 | 2254.9966 | 2152.69 | 1974.1315 | 1689.4526 | 1315.8581 | 918.0585 | 565.1432 | 318.5397 | 172.2651 | 91.5255 | 46.6152 | 23.5267 | 11.814 | 5.9856 | 2.9964 | 1.4991
MAXCOL-No. | 29 | 2182.169 | 2086.2233 | 1918.0904 | 1648.2402 | 1290.7217 | 905.7518 | 560.4555 | 317.045 | 171.8271 | 91.4017 | 46.5831 | 23.5185 | 11.8119 | 5.9851 | 2.9963 | 1.4991
MAXCOL-No. | 30 | 2113.8983 | 2023.7382 | 1865.1432 | 1608.9905 | 1266.5276 | 893.7707 | 555.8449 | 315.5643 | 171.3912 | 91.2782 | 46.551 | 23.5103 | 11.8098 | 5.9846 | 2.9961 | 1.499
MAXCOL-No. | 31 | 2049.7699 | 1964.8872 | 1815.0406 | 1571.5667 | 1243.2239 | 882.1024 | 551.3095 | 314.0974 | 170.9575 | 91.1551 | 46.5189 | 23.5022 | 11.8078 | 5.9841 | 2.996 | 1.499
Scan frequencies in AC operation at AMP3:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 19600 | 11550 | 6350 | 3322 | 1706 | 865 | 435 | 217.5 | 108.75 | 54.35 | 27.2 | 13.6 | 6.8 | 3.4 | 1.7 | 0.85
MAXCOL-No. | 2 | 15192.8563 | 9863.8701 | 5804.4937 | 3166.3257 | 1663.9863 | 854.0662 | 432.2174 | 216.8021 | 108.5752 | 54.3063 | 27.1891 | 13.5973 | 6.7993 | 3.3998 | 1.7 | 0.84999
MAXCOL-No. | 3 | 12403.8072 | 8607.327 | 5345.2978 | 3024.5886 | 1623.9923 | 843.4054 | 429.4701 | 216.1087 | 108.4011 | 54.2627 | 27.1781 | 13.5945 | 6.7986 | 3.3997 | 1.6999 | 0.84998
MAXCOL-No. | 4 | 10479.9384 | 7634.7484 | 4953.43 | 2894.9972 | 1585.8756 | 833.0075 | 426.7576 | 215.4197 | 108.2274 | 54.2192 | 27.1672 | 13.5918 | 6.7979 | 3.3995 | 1.6999 | 0.84997
MAXCOL-No. | 5 | 9072.73 | 6859.6475 | 4615.0939 | 2776.0545 | 1549.5072 | 822.8628 | 424.0791 | 214.7351 | 108.0543 | 54.1757 | 27.1563 | 13.5891 | 6.7973 | 3.3993 | 1.6998 | 0.84996
MAXCOL-No. | 6 | 7998.6941 | 6227.4222 | 4320.0218 | 2666.4997 | 1514.7694 | 812.9623 | 421.434 | 214.0548 | 107.8818 | 54.1323 | 27.1454 | 13.5863 | 6.7966 | 3.3991 | 1.6998 | 0.84995
MAXCOL-No. | 7 | 7152.0318 | 5701.9016 | 4060.4138 | 2565.2636 | 1481.5551 | 803.2971 | 418.8218 | 213.3788 | 107.7098 | 54.089 | 27.1345 | 13.5836 | 6.7959 | 3.399 | 1.6997 | 0.84994
MAXCOL-No. | 8 | 6467.4516 | 5258.1741 | 3830.239 | 2471.4334 | 1449.766 | 793.8591 | 416.2417 | 212.7071 | 107.5384 | 54.0457 | 27.1236 | 13.5809 | 6.7952 | 3.3988 | 1.6997 | 0.84993
MAXCOL-No. | 9 | 5902.4766 | 4878.5227 | 3624.7603 | 2384.2251 | 1419.3125 | 784.6403 | 413.6931 | 212.0396 | 107.3675 | 54.0025 | 27.1127 | 13.5781 | 6.7945 | 3.3986 | 1.6997 | 0.84991
MAXCOL-No. | 10 | 5428.2802 | 4550.0028 | 3440.2054 | 2302.9616 | 1390.112 | 775.6331 | 411.1757 | 211.3762 | 107.1972 | 53.9594 | 27.1018 | 13.5754 | 6.7938 | 3.3985 | 1.6996 | 0.8499
MAXCOL-No. | 11 | 5024.6103 | 4262.9364 | 3273.5334 | 2227.055 | 1362.0889 | 766.8304 | 408.6886 | 210.717 | 107.0274 | 53.9163 | 27.0909 | 13.5727 | 6.7932 | 3.3983 | 1.6996 | 0.84989
MAXCOL-No. | 12 | 4676.8221 | 4009.9433 | 3122.2649 | 2155.9926 | 1335.1733 | 758.2252 | 406.2315 | 210.0619 | 106.8581 | 53.8733 | 27.0801 | 13.57 | 6.7925 | 3.3981 | 1.6995 | 0.84988
MAXCOL-No. | 13 | 4374.0627 | 3785.2967 | 2984.3591 | 2089.325 | 1309.3007 | 749.811 | 403.8037 | 209.4109 | 106.6894 | 53.8304 | 27.0692 | 13.5672 | 6.7918 | 3.3979 | 1.6995 | 0.84987
MAXCOL-No. | 14 | 4108.119 | 3584.4852 | 2858.1202 | 2026.6567 | 1284.4118 | 741.5815 | 401.4048 | 208.7639 | 106.5212 | 53.7875 | 27.0584 | 13.5645 | 6.7911 | 3.3978 | 1.6994 | 0.84986
MAXCOL-No. | 15 | 3872.6606 | 3403.9067 | 2742.1277 | 1967.6383 | 1260.4516 | 733.5308 | 399.0342 | 208.1208 | 106.3535 | 53.7448 | 27.0476 | 13.5618 | 6.7904 | 3.3976 | 1.6994 | 0.84985
MAXCOL-No. | 16 | 3662.7299 | 3240.6498 | 2635.1828 | 1911.9601 | 1237.3688 | 725.6529 | 396.6915 | 207.4817 | 106.1864 | 53.702 | 27.0367 | 13.5591 | 6.7898 | 3.3974 | 1.6994 | 0.84984
MAXCOL-No. | 17 | 3474.3888 | 3092.3364 | 2536.2666 | 1859.3461 | 1215.1163 | 717.9424 | 394.3761 | 206.8466 | 106.0198 | 53.6594 | 27.0259 | 13.5563 | 6.7891 | 3.3973 | 1.6993 | 0.84983
MAXCOL-No. | 18 | 3304.4698 | 2957.0044 | 2444.5077 | 1809.5503 | 1193.6501 | 710.3941 | 392.0876 | 206.2153 | 105.8537 | 53.6168 | 27.0151 | 13.5536 | 6.7884 | 3.3971 | 1.6993 | 0.84982
MAXCOL-No. | 19 | 3150.396 | 2833.021 | 2359.1565 | 1762.3522 | 1172.9291 | 703.0028 | 389.8255 | 205.5878 | 105.6881 | 53.5743 | 27.0043 | 13.5509 | 6.7877 | 3.3969 | 1.6992 | 0.84981
MAXCOL-No. | 20 | 3010.0499 | 2719.0162 | 2279.5643 | 1717.5535 | 1152.9152 | 695.7638 | 387.5893 | 204.9642 | 105.5231 | 53.5319 | 26.9935 | 13.5482 | 6.787 | 3.3968 | 1.6992 | 0.8498
MAXCOL-No. | 21 | 2881.6749 | 2613.8318 | 2205.1674 | 1674.976 | 1133.5729 | 688.6723 | 385.3786 | 204.3443 | 105.3585 | 53.4895 | 26.9828 | 13.5455 | 6.7863 | 3.3966 | 1.6991 | 0.84979
MAXCOL-No. | 22 | 2763.8021 | 2516.4824 | 2135.4731 | 1634.4584 | 1114.8689 | 681.724 | 383.1931 | 203.7282 | 105.1945 | 53.4472 | 26.972 | 13.5428 | 6.7857 | 3.3964 | 1.6991 | 0.84978
MAXCOL-No. | 23 | 2655.1933 | 2426.124 | 2070.0492 | 1595.8547 | 1096.7721 | 674.9144 | 381.0321 | 203.1157 | 105.031 | 53.4049 | 26.9612 | 13.54 | 6.785 | 3.3962 | 1.6991 | 0.84976
MAXCOL-No. | 24 | 2554.7978 | 2342.0296 | 2008.5148 | 1559.0324 | 1079.2534 | 668.2395 | 378.8954 | 202.507 | 104.8679 | 53.3627 | 26.9505 | 13.5373 | 6.7843 | 3.3961 | 1.699 | 0.84975
MAXCOL-No. | 25 | 2461.7178 | 2263.5697 | 1950.5332 | 1523.8711 | 1062.2856 | 661.6954 | 376.7826 | 201.9019 | 104.7054 | 53.3206 | 26.9397 | 13.5346 | 6.7836 | 3.3959 | 1.699 | 0.84974
MAXCOL-No. | 26 | 2375.1818 | 2190.1963 | 1895.8053 | 1490.2608 | 1045.843 | 655.2782 | 374.6931 | 201.3004 | 104.5434 | 53.2786 | 26.929 | 13.5319 | 6.7829 | 3.3957 | 1.6989 | 0.84973
MAXCOL-No. | 27 | 2294.5231 | 2121.4303 | 1844.0647 | 1458.1011 | 1029.9017 | 648.9843 | 372.6268 | 200.7024 | 104.3819 | 53.2366 | 26.9183 | 13.5292 | 6.7823 | 3.3956 | 1.6989 | 0.84972
MAXCOL-No. | 28 | 2219.1627 | 2056.851 | 1795.0733 | 1427.3002 | 1014.439 | 642.8101 | 370.583 | 200.108 | 104.2209 | 53.1947 | 26.9075 | 13.5265 | 6.7816 | 3.3954 | 1.6988 | 0.84971
MAXCOL-No. | 29 | 2148.5951 | 1996.0873 | 1748.6176 | 1397.7735 | 999.4338 | 636.7523 | 368.5616 | 199.5171 | 104.0604 | 53.1529 | 26.8968 | 13.5238 | 6.7809 | 3.3952 | 1.6988 | 0.8497
MAXCOL-No. | 30 | 2082.3771 | 1938.8108 | 1704.5058 | 1369.4438 | 984.8661 | 630.8076 | 366.5621 | 198.9297 | 103.9004 | 53.1111 | 26.8861 | 13.5211 | 6.7802 | 3.395 | 1.6988 | 0.84969
MAXCOL-No. | 31 | 2020.1187 | 1884.7296 | 1662.5648 | 1342.2396 | 970.7169 | 624.9729 | 364.5842 | 198.3458 | 103.7409 | 53.0694 | 26.8754 | 13.5184 | 6.7795 | 3.3949 | 1.6987 | 0.84968
Scan frequencies in AC operation at AMP4:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 17550 | 9550 | 4975 | 2550 | 1295 | 650 | 327 | 163 | 82 | 41 | 20.5 | 10.25 | 5.12 | 2.56 | 1.28 | 0.64
MAXCOL-No. | 2 | 13931.4462 | 8367.3577 | 4633.8124 | 2457.2629 | 1270.6468 | 643.8066 | 325.4251 | 162.6077 | 81.9006 | 40.9751 | 20.4938 | 10.2484 | 5.1196 | 2.5599 | 1.28 | 0.63999
MAXCOL-No. | 3 | 11550.0039 | 7445.3488 | 4336.4189 | 2371.0343 | 1247.1926 | 637.7301 | 323.8652 | 162.2173 | 81.8015 | 40.9503 | 20.4876 | 10.2469 | 5.1192 | 2.5598 | 1.28 | 0.63999
MAXCOL-No. | 4 | 9863.8729 | 6706.3665 | 4074.8962 | 2290.6523 | 1224.5886 | 631.7672 | 322.3203 | 161.8288 | 81.7025 | 40.9255 | 20.4814 | 10.2453 | 5.1188 | 2.5597 | 1.2799 | 0.63998
MAXCOL-No. | 5 | 8607.3292 | 6100.833 | 3843.1233 | 2215.5418 | 1202.7894 | 625.9148 | 320.79 | 161.4421 | 81.6039 | 40.9007 | 20.4752 | 10.2438 | 5.1184 | 2.5596 | 1.2799 | 0.63998
MAXCOL-No. | 6 | 7634.7501 | 5595.5938 | 3636.2972 | 2145.2006 | 1181.7526 | 620.1698 | 319.2742 | 161.0573 | 81.5054 | 40.876 | 20.4689 | 10.2422 | 5.1181 | 2.5595 | 1.2799 | 0.63997
MAXCOL-No. | 7 | 6859.6488 | 5167.6371 | 3450.5958 | 2079.1885 | 1161.4391 | 614.5294 | 317.7726 | 160.6743 | 81.4072 | 40.8513 | 20.4627 | 10.2407 | 5.1177 | 2.5594 | 1.2799 | 0.63996
MAXCOL-No. | 8 | 6227.4234 | 4800.4906 | 3282.9399 | 2017.1178 | 1141.8122 | 608.9906 | 316.2851 | 160.2932 | 81.3093 | 40.8266 | 20.4566 | 10.2391 | 5.1173 | 2.5593 | 1.2798 | 0.63996
MAXCOL-No. | 9 | 5701.9026 | 4482.053 | 3130.8211 | 1958.6457 | 1122.8376 | 603.5507 | 314.8115 | 159.9138 | 81.2115 | 40.8019 | 20.4504 | 10.2376 | 5.1169 | 2.5592 | 1.2798 | 0.63995
MAXCOL-No. | 10 | 5258.1749 | 4203.2341 | 2992.1752 | 1903.468 | 1104.4833 | 598.2072 | 313.3515 | 159.5362 | 81.114 | 40.7773 | 20.4442 | 10.236 | 5.1165 | 2.5591 | 1.2798 | 0.63995
MAXCOL-No. | 11 | 4878.5234 | 3957.073 | 2865.2883 | 1851.3141 | 1086.7194 | 592.9575 | 311.905 | 159.1604 | 81.0168 | 40.7527 | 20.438 | 10.2345 | 5.1161 | 2.559 | 1.2798 | 0.63994
MAXCOL-No. | 12 | 4550.0034 | 3738.1495 | 2748.7251 | 1801.9419 | 1069.5178 | 587.7991 | 310.4718 | 158.7864 | 80.9198 | 40.7281 | 20.4318 | 10.2329 | 5.1157 | 2.5589 | 1.2797 | 0.63993
MAXCOL-No. | 13 | 4262.937 | 3542.1798 | 2641.275 | 1755.1346 | 1052.8524 | 582.7297 | 309.0518 | 158.4141 | 80.823 | 40.7036 | 20.4256 | 10.2314 | 5.1153 | 2.5588 | 1.2797 | 0.63993
MAXCOL-No. | 14 | 4009.9437 | 3365.7337 | 2541.9096 | 1710.6976 | 1036.6983 | 577.747 | 307.6446 | 158.0436 | 80.7264 | 40.6791 | 20.4195 | 10.2298 | 5.115 | 2.5587 | 1.2797 | 0.63992
MAXCOL-No. | 15 | 3785.2971 | 3206.032 | 2449.7494 | 1668.4551 | 1021.0325 | 572.8487 | 306.2502 | 157.6748 | 80.6301 | 40.6546 | 20.4133 | 10.2283 | 5.1146 | 2.5586 | 1.2797 | 0.63992
MAXCOL-No. | 16 | 3584.4856 | 3060.7993 | 2364.0381 | 1628.2485 | 1005.8331 | 568.0329 | 304.8684 | 157.3077 | 80.534 | 40.6302 | 20.4071 | 10.2267 | 5.1142 | 2.5585 | 1.2796 | 0.63991
MAXCOL-No. | 17 | 3403.907 | 2928.1544 | 2284.1218 | 1589.9342 | 991.0795 | 563.2973 | 303.499 | 156.9423 | 80.4381 | 40.6058 | 20.401 | 10.2252 | 5.1138 | 2.5584 | 1.2796 | 0.6399
MAXCOL-No. | 18 | 3240.6501 | 2806.5288 | 2209.4319 | 1553.3815 | 976.7525 | 558.64 | 302.1418 | 156.5786 | 80.3424 | 40.5814 | 20.3948 | 10.2236 | 5.1134 | 2.5584 | 1.2796 | 0.6399
MAXCOL-No. | 19 | 3092.3366 | 2694.604 | 2139.4721 | 1518.4718 | 962.8339 | 554.0591 | 300.7968 | 156.2166 | 80.247 | 40.557 | 20.3887 | 10.2221 | 5.113 | 2.5583 | 1.2796 | 0.63989
MAXCOL-No. | 20 | 2957.0046 | 2591.264 | 2073.8067 | 1485.0966 | 949.3063 | 549.5527 | 299.4636 | 155.8562 | 80.1518 | 40.5327 | 20.3825 | 10.2205 | 5.1126 | 2.5582 | 1.2795 | 0.63988
MAXCOL-No. | 21 | 2833.0212 | 2495.5576 | 2012.0521 | 1453.1571 | 936.1536 | 545.1191 | 298.1422 | 155.4976 | 80.0569 | 40.5084 | 20.3764 | 10.219 | 5.1123 | 2.5581 | 1.2795 | 0.63988
MAXCOL-No. | 22 | 2719.0164 | 2406.6691 | 1953.8691 | 1422.5624 | 923.3604 | 540.7564 | 296.8324 | 155.1405 | 79.9621 | 40.4841 | 20.3702 | 10.2175 | 5.1119 | 2.558 | 1.2795 | 0.63987
MAXCOL-No. | 23 | 2613.832 | 2323.895 | 1898.9564 | 1393.2295 | 910.9121 | 536.463 | 295.5341 | 154.7851 | 79.8676 | 40.4599 | 20.3641 | 10.2159 | 5.1115 | 2.5579 | 1.2795 | 0.63987
MAXCOL-No. | 24 | 2516.4826 | 2246.6254 | 1847.046 | 1365.0817 | 898.795 | 532.2372 | 294.2471 | 154.4313 | 79.7733 | 40.4357 | 20.3579 | 10.2144 | 5.1111 | 2.5578 | 1.2794 | 0.63986
MAXCOL-No. | 25 | 2426.1242 | 2174.3288 | 1797.8982 | 1338.0489 | 886.996 | 528.0775 | 292.9713 | 154.0792 | 79.6792 | 40.4115 | 20.3518 | 10.2128 | 5.1107 | 2.5577 | 1.2794 | 0.63985
MAXCOL-No. | 26 | 2342.0298 | 2106.5402 | 1751.2981 | 1312.0659 | 875.5028 | 523.9823 | 291.7064 | 153.7286 | 79.5854 | 40.3873 | 20.3457 | 10.2113 | 5.1103 | 2.5576 | 1.2794 | 0.63985
MAXCOL-No. | 27 | 2263.5698 | 2042.8507 | 1707.0526 | 1287.0727 | 864.3037 | 519.9501 | 290.4525 | 153.3797 | 79.4917 | 40.3632 | 20.3396 | 10.2097 | 5.1099 | 2.5575 | 1.2794 | 0.63984
MAXCOL-No. | 28 | 2190.1964 | 1982.8993 | 1664.9877 | 1263.014 | 853.3874 | 515.9795 | 289.2093 | 153.0323 | 79.3983 | 40.3391 | 20.3334 | 10.2082 | 5.1095 | 2.5574 | 1.2793 | 0.63984
MAXCOL-No. | 29 | 2121.4304 | 1926.3664 | 1624.9461 | 1239.8382 | 842.7434 | 512.0691 | 287.9766 | 152.6865 | 79.3051 | 40.315 | 20.3273 | 10.2066 | 5.1092 | 2.5573 | 1.2793 | 0.63983
MAXCOL-No. | 30 | 2056.8511 | 1872.9677 | 1586.7852 | 1217.4976 | 832.3617 | 508.2175 | 286.7545 | 152.3422 | 79.2122 | 40.291 | 20.3212 | 10.2051 | 5.1088 | 2.5572 | 1.2793 | 0.63982
MAXCOL-No. | 31 | 1996.0874 | 1822.4495 | 1550.3755 | 1195.9478 | 822.2327 | 504.4234 | 285.5426 | 151.9995 | 79.1194 | 40.267 | 20.3151 | 10.2036 | 5.1084 | 2.5571 | 1.2793 | 0.63982
Scan frequencies in AC operation at AMP5:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 15675 | 8000 | 4050 | 2030 | 1020 | 510 | 255 | 128 | 64 | 32 | 16 | 8 | 4 | 2 | 1 | 0.5
MAXCOL-No. | 2 | 12723.3176 | 7153.0758 | 3820.971 | 1970.7896 | 1004.8311 | 506.1794 | 254.0412 | 127.758 | 63.9394 | 31.9849 | 15.9962 | 7.9991 | 3.9998 | 1.9999 | 0.99999 | 0.5
MAXCOL-No. | 3 | 10707.1135 | 6468.3053 | 3616.4589 | 1914.9354 | 990.1067 | 502.4155 | 253.0897 | 127.5169 | 63.879 | 31.9697 | 15.9924 | 7.9981 | 3.9995 | 1.9999 | 0.99997 | 0.49999
MAXCOL-No. | 4 | 9242.4984 | 5903.1877 | 3432.727 | 1862.1598 | 975.8076 | 498.7073 | 252.1452 | 127.2767 | 63.8187 | 31.9546 | 15.9886 | 7.9972 | 3.9993 | 1.9998 | 0.99996 | 0.49999
MAXCOL-No. | 5 | 8130.3554 | 5428.8817 | 3266.7613 | 1812.2152 | 961.9157 | 495.0533 | 251.2078 | 127.0374 | 63.7584 | 31.9395 | 15.9849 | 7.9962 | 3.9991 | 1.9998 | 0.99994 | 0.49999
MAXCOL-No. | 6 | 7257.1124 | 5025.1256 | 3116.1037 | 1764.8798 | 948.4137 | 491.4526 | 250.2773 | 126.799 | 63.6983 | 31.9244 | 15.9811 | 7.9953 | 3.9988 | 1.9997 | 0.99993 | 0.49998
MAXCOL-No. | 7 | 6553.258 | 4677.2685 | 2978.7297 | 1719.9542 | 935.2856 | 487.9038 | 249.3536 | 126.5615 | 63.6383 | 31.9093 | 15.9773 | 7.9943 | 3.9986 | 1.9996 | 0.99991 | 0.49998
MAXCOL-No. | 8 | 5973.8636 | 4374.4532 | 2852.9565 | 1677.259 | 922.5159 | 484.4059 | 248.4368 | 126.3248 | 63.5784 | 31.8943 | 15.9735 | 7.9934 | 3.9983 | 1.9996 | 0.9999 | 0.49997
MAXCOL-No. | 9 | 5488.5991 | 4108.4634 | 2737.3743 | 1636.6322 | 910.0902 | 480.9578 | 247.5267 | 126.0891 | 63.5187 | 31.8792 | 15.9697 | 7.9924 | 3.9981 | 1.9995 | 0.99988 | 0.49997
MAXCOL-No. | 10 | 5076.249 | 3872.9667 | 2630.7926 | 1597.9269 | 897.9948 | 477.5585 | 246.6232 | 125.8542 | 63.459 | 31.8642 | 15.966 | 7.9915 | 3.9979 | 1.9995 | 0.99987 | 0.49997
MAXCOL-No. | 11 | 4721.5278 | 3663.0037 | 2532.1996 | 1561.0101 | 886.2167 | 474.2069 | 245.7263 | 125.6202 | 63.3995 | 31.8492 | 15.9622 | 7.9905 | 3.9976 | 1.9994 | 0.99985 | 0.49996
MAXCOL-No. | 12 | 4413.1434 | 3474.6352 | 2440.7294 | 1525.7606 | 874.7436 | 470.902 | 244.8359 | 125.3871 | 63.34 | 31.8342 | 15.9584 | 7.9896 | 3.9974 | 1.9993 | 0.99984 | 0.49996
MAXCOL-No. | 13 | 4142.5732 | 3304.6927 | 2355.6372 | 1492.0678 | 863.5637 | 467.6428 | 243.9519 | 125.1549 | 63.2807 | 31.8192 | 15.9547 | 7.9886 | 3.9972 | 1.9993 | 0.99982 | 0.49996
MAXCOL-No. | 14 | 3903.2638 | 3150.5986 | 2276.2784 | 1459.8309 | 852.666 | 464.4284 | 243.0743 | 124.9235 | 63.2215 | 31.8042 | 15.9509 | 7.9877 | 3.9969 | 1.9992 | 0.99981 | 0.49995
MAXCOL-No. | 15 | 3690.0934 | 3010.2348 | 2202.0923 | 1428.9576 | 842.0399 | 461.2579 | 242.203 | 124.6929 | 63.1624 | 31.7892 | 15.9471 | 7.9868 | 3.9967 | 1.9992 | 0.99979 | 0.49995
MAXCOL-No. | 16 | 3499.0011 | 2881.8444 | 2132.5891 | 1399.363 | 831.6754 | 458.1305 | 241.3379 | 124.4633 | 63.1034 | 31.7743 | 15.9434 | 7.9858 | 3.9965 | 1.9991 | 0.99978 | 0.49994
MAXCOL-No. | 17 | 3326.7259 | 2763.958 | 2067.3391 | 1370.9695 | 821.563 | 455.0451 | 240.4789 | 124.2344 | 63.0445 | 31.7593 | 15.9396 | 7.9849 | 3.9962 | 1.9991 | 0.99976 | 0.49994
MAXCOL-No. | 18 | 3170.6187 | 2655.3372 | 2005.9634 | 1343.7052 | 811.6935 | 452.001 | 239.6261 | 124.0064 | 62.9858 | 31.7444 | 15.9358 | 7.9839 | 3.996 | 1.999 | 0.99975 | 0.49994
MAXCOL-No. | 19 | 3028.5056 | 2554.931 | 1948.1269 | 1317.5042 | 802.0583 | 448.9974 | 238.7792 | 123.7792 | 62.9271 | 31.7295 | 15.9321 | 7.983 | 3.9957 | 1.9989 | 0.99973 | 0.49993
MAXCOL-No. | 20 | 2898.5856 | 2461.8415 | 1893.5321 | 1292.3055 | 792.6492 | 446.0335 | 237.9384 | 123.5529 | 62.8686 | 31.7146 | 15.9283 | 7.982 | 3.9955 | 1.9989 | 0.99972 | 0.49993
MAXCOL-No. | 21 | 2779.3539 | 2375.2969 | 1841.9138 | 1268.0526 | 783.4583 | 443.1084 | 237.1034 | 123.3274 | 62.8101 | 31.6997 | 15.9246 | 7.9811 | 3.9953 | 1.9988 | 0.9997 | 0.49993
MAXCOL-No. | 22 | 2669.5437 | 2294.6306 | 1793.0351 | 1244.6932 | 774.4781 | 440.2214 | 236.2743 | 123.1027 | 62.7518 | 31.6849 | 15.9208 | 7.9802 | 3.995 | 1.9988 | 0.99969 | 0.49992
MAXCOL-No. | 23 | 2568.0808 | 2219.2632 | 1746.6835 | 1222.1789 | 765.7014 | 437.3718 | 235.451 | 122.8788 | 62.6936 | 31.67 | 15.9171 | 7.9792 | 3.9948 | 1.9987 | 0.99967 | 0.49992
MAXCOL-No. | 24 | 2474.0481 | 2148.6893 | 1702.6679 | 1200.4646 | 757.1214 | 434.5588 | 234.6334 | 122.6557 | 62.6354 | 31.6552 | 15.9133 | 7.9783 | 3.9946 | 1.9986 | 0.99966 | 0.49991
MAXCOL-No. | 25 | 2386.6585 | 2082.4656 | 1660.8162 | 1179.5084 | 748.7316 | 431.7819 | 233.8214 | 122.4335 | 62.5774 | 31.6404 | 15.9096 | 7.9773 | 3.9943 | 1.9986 | 0.99964 | 0.49991
MAXCOL-No. | 26 | 2305.2318 | 2020.202 | 1620.9726 | 1159.2713 | 740.5256 | 429.0401 | 233.015 | 122.212 | 62.5195 | 31.6256 | 15.9058 | 7.9764 | 3.9941 | 1.9985 | 0.99963 | 0.49991
MAXCOL-No. | 27 | 2229.178 | 1961.5536 | 1582.9959 | 1139.7169 | 732.4976 | 426.333 | 232.2142 | 121.9914 | 62.4617 | 31.6108 | 15.9021 | 7.9754 | 3.9939 | 1.9985 | 0.99962 | 0.4999
MAXCOL-No. | 28 | 2157.9822 | 1906.2143 | 1546.7579 | 1120.8113 | 724.6418 | 423.6598 | 231.4189 | 121.7715 | 62.4041 | 31.596 | 15.8984 | 7.9745 | 3.9936 | 1.9984 | 0.9996 | 0.4999
MAXCOL-No. | 29 | 2091.1934 | 1853.9118 | 1512.1419 | 1102.5227 | 716.9527 | 421.02 | 230.629 | 121.5525 | 62.3465 | 31.5812 | 15.8946 | 7.9736 | 3.9934 | 1.9983 | 0.99959 | 0.4999
MAXCOL-No. | 30 | 2028.4146 | 1804.4027 | 1479.0414 | 1084.8213 | 709.4251 | 418.4128 | 229.8444 | 121.3342 | 62.289 | 31.5665 | 15.8909 | 7.9726 | 3.9931 | 1.9983 | 0.99957 | 0.49989
MAXCOL-No. | 31 | 1969.2953 | 1757.4692 | 1447.359 | 1067.6793 | 702.0539 | 415.8377 | 229.0652 | 121.1167 | 62.2316 | 31.5517 | 15.8871 | 7.9717 | 3.9929 | 1.9982 | 0.99956 | 0.49989
Scan frequencies in AC operation at AMP6:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 10775 | 5350 | 2700 | 1350 | 675 | 337 | 169 | 84.5 | 42.25 | 21.1 | 10.55 | 5.3 | 2.65 | 1.32 | 0.66 | 0.33
MAXCOL-No. | 2 | 9293.0391 | 4957.4677 | 2596.2537 | 1323.5554 | 668.3234 | 335.3275 | 168.5784 | 84.3945 | 42.2236 | 21.0934 | 10.5484 | 5.2996 | 2.6499 | 1.32 | 0.65999 | 0.33
MAXCOL-No. | 3 | 8169.4391 | 4618.5987 | 2500.1852 | 1298.1269 | 661.7777 | 333.6716 | 168.1588 | 84.2892 | 42.1972 | 21.0868 | 10.5467 | 5.2992 | 2.6498 | 1.3199 | 0.65999 | 0.33
MAXCOL-No. | 4 | 7288.2353 | 4323.0926 | 2410.9726 | 1273.657 | 655.3589 | 332.0319 | 167.7413 | 84.1842 | 42.1709 | 21.0803 | 10.5451 | 5.2988 | 2.6497 | 1.3199 | 0.65998 | 0.33
MAXCOL-No. | 5 | 6578.626 | 4063.1266 | 2327.9073 | 1250.0926 | 649.0634 | 330.4082 | 167.3259 | 84.0794 | 42.1446 | 21.0737 | 10.5434 | 5.2983 | 2.6496 | 1.3199 | 0.65997 | 0.32999
MAXCOL-No. | 6 | 5994.937 | 3832.6528 | 2250.3751 | 1227.3843 | 642.8878 | 328.8004 | 166.9126 | 83.9749 | 42.1183 | 21.0671 | 10.5418 | 5.2979 | 2.6495 | 1.3199 | 0.65997 | 0.32999
MAXCOL-No. | 7 | 5506.3828 | 3626.9219 | 2177.8409 | 1205.4863 | 636.8285 | 327.2081 | 166.5013 | 83.8707 | 42.0921 | 21.0605 | 10.5401 | 5.2975 | 2.6494 | 1.3198 | 0.65996 | 0.32999
MAXCOL-No. | 8 | 5091.4572 | 3442.1525 | 2109.8365 | 1184.356 | 630.8824 | 325.6312 | 166.092 | 83.7667 | 42.0659 | 21.054 | 10.5385 | 5.2971 | 2.6493 | 1.3198 | 0.65995 | 0.32999
MAXCOL-No. | 9 | 4734.682 | 3275.2963 | 2045.9505 | 1163.9536 | 625.0463 | 324.0694 | 165.6847 | 83.663 | 42.0397 | 21.0474 | 10.5368 | 5.2967 | 2.6492 | 1.3198 | 0.65995 | 0.32999
MAXCOL-No. | 10 | 4424.6334 | 3123.8687 | 1985.8198 | 1144.2423 | 619.3172 | 322.5225 | 165.2794 | 83.5595 | 42.0136 | 21.0409 | 10.5352 | 5.2963 | 2.6491 | 1.3198 | 0.65994 | 0.32999
MAXCOL-No. | 11 | 4152.6959 | 2985.8243 | 1929.1226 | 1125.1875 | 613.6922 | 320.9903 | 164.8761 | 83.4563 | 41.9875 | 21.0343 | 10.5336 | 5.2958 | 2.649 | 1.3197 | 0.65994 | 0.32998
MAXCOL-No. | 12 | 3912.2494 | 2859.464 | 1875.5731 | 1106.757 | 608.1684 | 319.4726 | 164.4748 | 83.3533 | 41.9614 | 21.0278 | 10.5319 | 5.2954 | 2.6489 | 1.3197 | 0.65993 | 0.32998
MAXCOL-No. | 13 | 3698.1233 | 2743.3646 | 1824.9162 | 1088.9204 | 602.7432 | 317.9692 | 164.0754 | 83.2506 | 41.9353 | 21.0212 | 10.5303 | 5.295 | 2.6488 | 1.3197 | 0.65992 | 0.32998
MAXCOL-No. | 14 | 3506.2201 | 2636.3251 | 1776.9237 | 1071.6497 | 597.4139 | 316.4798 | 163.6779 | 83.1482 | 41.9093 | 21.0147 | 10.5286 | 5.2946 | 2.6486 | 1.3197 | 0.65992 | 0.32998
MAXCOL-No. | 15 | 3333.2508 | 2537.3248 | 1731.3908 | 1054.9183 | 592.178 | 315.0044 | 163.2824 | 83.046 | 41.8833 | 21.0082 | 10.527 | 5.2942 | 2.6485 | 1.3196 | 0.65991 | 0.32998
MAXCOL-No. | 16 | 3176.5452 | 2445.4907 | 1688.133 | 1038.7012 | 587.0331 | 313.5426 | 162.8887 | 82.9441 | 41.8574 | 21.0016 | 10.5253 | 5.2938 | 2.6484 | 1.3196 | 0.6599 | 0.32998
MAXCOL-No. | 17 | 3033.9122 | 2360.072 | 1646.9842 | 1022.9753 | 581.9768 | 312.0944 | 162.497 | 82.8424 | 41.8315 | 20.9951 | 10.5237 | 5.2934 | 2.6483 | 1.3196 | 0.6599 | 0.32997
MAXCOL-No. | 18 | 2903.5379 | 2280.4191 | 1607.7936 | 1007.7184 | 577.0069 | 310.6594 | 162.1071 | 82.7409 | 41.8056 | 20.9886 | 10.5221 | 5.2929 | 2.6482 | 1.3196 | 0.65989 | 0.32997
MAXCOL-No. | 19 | 2783.9068 | 2205.9672 | 1570.4248 | 992.9099 | 572.1212 | 309.2376 | 161.7191 | 82.6397 | 41.7798 | 20.9821 | 10.5204 | 5.2925 | 2.6481 | 1.3195 | 0.65988 | 0.32997
MAXCOL-No. | 20 | 2673.7437 | 2136.2232 | 1534.7536 | 978.5303 | 567.3175 | 307.8288 | 161.333 | 82.5388 | 41.7539 | 20.9755 | 10.5188 | 5.2921 | 2.648 | 1.3195 | 0.65988 | 0.32997
MAXCOL-No. | 21 | 2571.9673 | 2070.754 | 1500.667 | 964.5613 | 562.5938 | 306.4327 | 160.9487 | 82.4381 | 41.7281 | 20.969 | 10.5172 | 5.2917 | 2.6479 | 1.3195 | 0.65987 | 0.32997
MAXCOL-No. | 22 | 2477.6551 | 2009.1784 | 1468.0615 | 950.9855 | 557.9481 | 305.0493 | 160.5662 | 82.3376 | 41.7024 | 20.9625 | 10.5155 | 5.2913 | 2.6478 | 1.3195 | 0.65986 | 0.32997
MAXCOL-No. | 23 | 2390.015 | 1951.159 | 1436.8428 | 937.7865 | 553.3785 | 303.6782 | 160.1856 | 82.2374 | 41.6767 | 20.956 | 10.5139 | 5.2909 | 2.6477 | 1.3194 | 0.65986 | 0.32996
MAXCOL-No. | 24 | 2308.363 | 1896.3965 | 1406.9242 | 924.949 | 548.8831 | 302.3195 | 159.8067 | 82.1374 | 41.651 | 20.9495 | 10.5122 | 5.2905 | 2.6476 | 1.3194 | 0.65985 | 0.32996
MAXCOL-No. | 25 | 2232.1059 | 1844.624 | 1378.2261 | 912.4581 | 544.4602 | 300.9728 | 159.4296 | 82.0377 | 41.6253 | 20.943 | 10.5106 | 5.29 | 2.6475 | 1.3194 | 0.65985 | 0.32996
MAXCOL-No. | 26 | 2160.7259 | 1795.6033 | 1350.6753 | 900.3001 | 540.108 | 299.6381 | 159.0543 | 81.9382 | 41.5997 | 20.9365 | 10.509 | 5.2896 | 2.6474 | 1.3194 | 0.65984 | 0.32996
MAXCOL-No. | 27 | 2093.7698 | 1749.1205 | 1324.2045 | 888.4618 | 535.8249 | 298.3152 | 158.6808 | 81.839 | 41.5741 | 20.9301 | 10.5073 | 5.2892 | 2.6473 | 1.3193 | 0.65983 | 0.32996
MAXCOL-No. | 28 | 2030.8386 | 1704.9837 | 1298.7513 | 876.9309 | 531.6091 | 297.0039 | 158.309 | 81.74 | 41.5485 | 20.9236 | 10.5057 | 5.2888 | 2.6472 | 1.3193 | 0.65983 | 0.32996
MAXCOL-No. | 29 | 1971.58 | 1663.0194 | 1274.2581 | 865.6954 | 527.4591 | 295.7041 | 157.939 | 81.6412 | 41.523 | 20.9171 | 10.5041 | 5.2884 | 2.6471 | 1.3193 | 0.65982 | 0.32995
MAXCOL-No. | 30 | 1915.6816 | 1623.0713 | 1250.6717 | 854.7441 | 523.3735 | 294.4156 | 157.5706 | 81.5427 | 41.4975 | 20.9106 | 10.5024 | 5.288 | 2.647 | 1.3193 | 0.65981 | 0.32995
MAXCOL-No. | 31 | 1862.8654 | 1584.9973 | 1227.9425 | 844.0665 | 519.3506 | 293.1383 | 157.204 | 81.4444 | 41.472 | 20.9042 | 10.5008 | 5.2876 | 2.6469 | 1.3192 | 0.65981 | 0.32995
Scan frequencies in AC operation at AMP7:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 7670 | 3820 | 1915 | 958 | 480 | 240 | 120 | 60 | 30 | 15 | 7.5 | 3.75 | 1.87 | 0.94 | 0.47 | 0.23
MAXCOL-No. | 2 | 6888.0914 | 3615.5891 | 1862.2209 | 944.607 | 476.6141 | 239.1505 | 119.7873 | 59.9468 | 29.9867 | 14.9967 | 7.4992 | 3.7498 | 1.8699 | 0.93999 | 0.47 | 0.23
MAXCOL-No. | 3 | 6250.8557 | 3431.9433 | 1812.2731 | 931.5833 | 473.2757 | 238.3071 | 119.5753 | 59.8936 | 29.9734 | 14.9933 | 7.4983 | 3.7496 | 1.8699 | 0.93997 | 0.46999 | 0.23
MAXCOL-No. | 4 | 5721.5407 | 3266.0515 | 1764.9347 | 918.9138 | 469.9837 | 237.4695 | 119.364 | 59.8406 | 29.9601 | 14.99 | 7.4975 | 3.7494 | 1.8698 | 0.93996 | 0.46999 | 0.23
MAXCOL-No. | 5 | 5274.871 | 3115.4579 | 1720.0063 | 906.5843 | 466.7372 | 236.6378 | 119.1535 | 59.7876 | 29.9468 | 14.9867 | 7.4967 | 3.7492 | 1.8698 | 0.93995 | 0.46999 | 0.23
MAXCOL-No. | 6 | 4892.8922 | 2978.1395 | 1677.3086 | 894.5813 | 463.5352 | 235.812 | 118.9438 | 59.7348 | 29.9335 | 14.9834 | 7.4958 | 3.749 | 1.8697 | 0.93993 | 0.46998 | 0.23
MAXCOL-No. | 7 | 4562.4997 | 2852.4151 | 1636.6794 | 882.892 | 460.3769 | 234.9919 | 118.7348 | 59.682 | 29.9203 | 14.98 | 7.495 | 3.7488 | 1.8697 | 0.93992 | 0.46998 | 0.23
MAXCOL-No. | 8 | 4273.9043 | 2736.8759 | 1597.972 | 871.5042 | 457.2613 | 234.1774 | 118.5265 | 59.6293 | 29.907 | 14.9767 | 7.4942 | 3.7485 | 1.8696 | 0.93991 | 0.46998 | 0.22999
MAXCOL-No. | 9 | 4019.6465 | 2630.3323 | 1561.0531 | 860.4065 | 454.1876 | 233.3686 | 118.3189 | 59.5768 | 29.8938 | 14.9734 | 7.4933 | 3.7483 | 1.8696 | 0.9399 | 0.46997 | 0.22999
MAXCOL-No. | 10 | 3793.942 | 2531.7731 | 1525.8016 | 849.5878 | 451.155 | 232.5654 | 118.1121 | 59.5243 | 29.8806 | 14.9701 | 7.4925 | 3.7481 | 1.8695 | 0.93988 | 0.46997 | 0.22999
MAXCOL-No. | 11 | 3592.2366 | 2440.3332 | 1492.107 | 839.0379 | 448.1625 | 231.7676 | 117.906 | 59.4719 | 29.8674 | 14.9668 | 7.4917 | 3.7479 | 1.8695 | 0.93987 | 0.46997 | 0.22999
MAXCOL-No. | 12 | 3410.896 | 2355.2682 | 1459.8685 | 828.7467 | 445.2095 | 230.9753 | 117.7006 | 59.4196 | 29.8542 | 14.9635 | 7.4909 | 3.7477 | 1.8694 | 0.93986 | 0.46996 | 0.22999
MAXCOL-No. | 13 | 3246.9842 | 2275.9337 | 1428.9936 | 818.7049 | 442.2952 | 230.1884 | 117.4959 | 59.3674 | 29.841 | 14.9601 | 7.49 | 3.7475 | 1.8694 | 0.93984 | 0.46996 | 0.22999
MAXCOL-No. | 14 | 3098.1037 | 2201.7697 | 1399.3976 | 808.9035 | 439.4188 | 229.4069 | 117.292 | 59.3153 | 29.8278 | 14.9568 | 7.4892 | 3.7473 | 1.8693 | 0.93983 | 0.46996 | 0.22999
MAXCOL-No. | 15 | 2962.2775 | 2132.2866 | 1371.0026 | 799.3341 | 436.5795 | 228.6307 | 117.0887 | 59.2632 | 29.8147 | 14.9535 | 7.4884 | 3.7471 | 1.8693 | 0.93982 | 0.46995 | 0.22999
MAXCOL-No. | 16 | 2837.8608 | 2067.0548 | 1343.7371 | 789.9884 | 433.7767 | 227.8596 | 116.8862 | 59.2113 | 29.8015 | 14.9502 | 7.4875 | 3.7469 | 1.8692 | 0.9398 | 0.46995 | 0.22999
MAXCOL-No. | 17 | 2723.474 | 2005.6958 | 1317.5348 | 780.8588 | 431.0097 | 227.0938 | 116.6843 | 59.1595 | 29.7884 | 14.9469 | 7.4867 | 3.7467 | 1.8692 | 0.93979 | 0.46995 | 0.22999
MAXCOL-No. | 18 | 2617.9512 | 1947.8745 | 1292.3349 | 771.9377 | 428.2778 | 226.3331 | 116.4831 | 59.1077 | 29.7753 | 14.9436 | 7.4859 | 3.7465 | 1.8691 | 0.93978 | 0.46994 | 0.22999
MAXCOL-No. | 19 | 2520.3004 | 1893.2936 | 1268.0809 | 763.2182 | 425.5802 | 225.5775 | 116.2827 | 59.056 | 29.7621 | 14.9403 | 7.485 | 3.7463 | 1.8691 | 0.93976 | 0.46994 | 0.22999
MAXCOL-No. | 20 | 2429.6725 | 1841.6881 | 1244.7205 | 754.6934 | 422.9164 | 224.8269 | 116.0829 | 59.0045 | 29.749 | 14.937 | 7.4842 | 3.746 | 1.869 | 0.93975 | 0.46994 | 0.22999
MAXCOL-No. | 21 | 2345.3362 | 1792.8212 | 1222.2052 | 746.357 | 420.2858 | 224.0813 | 115.8838 | 58.953 | 29.7359 | 14.9337 | 7.4834 | 3.7458 | 1.869 | 0.93974 | 0.46993 | 0.22998
MAXCOL-No. | 22 | 2266.6583 | 1746.4805 | 1200.49 | 738.2028 | 417.6877 | 223.3406 | 115.6854 | 58.9016 | 29.7229 | 14.9304 | 7.4826 | 3.7456 | 1.8689 | 0.93973 | 0.46993 | 0.22998
MAXCOL-No. | 23 | 2193.0878 | 1702.4751 | 1179.5329 | 730.2248 | 415.1215 | 222.6048 | 115.4877 | 58.8503 | 29.7098 | 14.9271 | 7.4817 | 3.7454 | 1.8689 | 0.93971 | 0.46993 | 0.22998
MAXCOL-No. | 24 | 2124.143 | 1660.6327 | 1159.295 | 722.4174 | 412.5866 | 221.8738 | 115.2906 | 58.7991 | 29.6967 | 14.9238 | 7.4809 | 3.7452 | 1.8688 | 0.9397 | 0.46992 | 0.22998
MAXCOL-No. | 25 | 2059.401 | 1620.7978 | 1139.7398 | 714.7752 | 410.0826 | 221.1476 | 115.0942 | 58.748 | 29.6837 | 14.9205 | 7.4801 | 3.745 | 1.8688 | 0.93969 | 0.46992 | 0.22998
MAXCOL-No. | 26 | 1998.4888 | 1582.8292 | 1120.8335 | 707.2929 | 407.6087 | 220.4262 | 114.8985 | 58.6969 | 29.6707 | 14.9172 | 7.4792 | 3.7448 | 1.8687 | 0.93967 | 0.46992 | 0.22998
MAXCOL-No. | 27 | 1941.0763 | 1546.5988 | 1102.5441 | 699.9657 | 405.1645 | 219.7094 | 114.7035 | 58.646 | 29.6576 | 14.9139 | 7.4784 | 3.7446 | 1.8687 | 0.93966 | 0.46992 | 0.22998
MAXCOL-No. | 28 | 1886.8704 | 1511.9898 | 1084.842 | 692.7888 | 402.7494 | 218.9973 | 114.5091 | 58.5951 | 29.6446 | 14.9106 | 7.4776 | 3.7444 | 1.8686 | 0.93965 | 0.46991 | 0.22998
MAXCOL-No. | 29 | 1835.6098 | 1478.8959 | 1067.6994 | 685.7575 | 400.363 | 218.2898 | 114.3153 | 58.5444 | 29.6316 | 14.9073 | 7.4768 | 3.7442 | 1.8686 | 0.93963 | 0.46991 | 0.22998
MAXCOL-No. | 30 | 1787.0607 | 1447.2197 | 1051.0901 | 678.8676 | 398.0047 | 217.5868 | 114.1222 | 58.4937 | 29.6186 | 14.904 | 7.4759 | 3.744 | 1.8685 | 0.93962 | 0.46991 | 0.22998
MAXCOL-No. | 31 | 1741.0135 | 1416.8719 | 1034.9897 | 672.1147 | 395.674 | 216.8884 | 113.9298 | 58.4431 | 29.6057 | 14.9008 | 7.4751 | 3.7438 | 1.8684 | 0.93961 | 0.4699 | 0.22998
Scan frequencies in AC operation at AMP8:
Scan frequencies in Hz (worst case) at different AVERAGE and MAXCOL-NO. settings
Average |  | 1 | 2 | 4 | 8 | 16 | 32 | 64 | 128 | 256 | 512 | 1024 | 2048 | 4096 | 8192 | 16384 | 32768
MAXCOL-No. | 1 | 4350 | 2175 | 1090 | 545 | 272.5 | 136.25 | 68.12 | 33.9 | 17 | 8.5 | 4.25 | 2.13 | 1.06 | 0.53 | 0.27 | 0.13
MAXCOL-No. | 2 | 4086.8863 | 2107.1702 | 1072.6953 | 540.6392 | 271.4054 | 135.9758 | 68.0514 | 33.883 | 16.9957 | 8.4989 | 4.2497 | 2.1299 | 1.06 | 0.53 | 0.27 | 0.13
MAXCOL-No. | 3 | 3853.7865 | 2043.4431 | 1055.9314 | 536.3476 | 270.3196 | 135.7027 | 67.9829 | 33.866 | 16.9914 | 8.4979 | 4.2495 | 2.1299 | 1.06 | 0.52999 | 0.27 | 0.13
MAXCOL-No. | 4 | 3645.8421 | 1983.4575 | 1039.6835 | 532.1237 | 269.2424 | 135.4307 | 67.9146 | 33.8491 | 16.9872 | 8.4968 | 4.2492 | 2.1298 | 1.06 | 0.52999 | 0.27 | 0.13
MAXCOL-No. | 5 | 3459.1895 | 1926.8932 | 1023.928 | 527.9657 | 268.1738 | 135.1598 | 67.8464 | 33.8321 | 16.9829 | 8.4957 | 4.2489 | 2.1297 | 1.0599 | 0.52998 | 0.27 | 0.13
MAXCOL-No. | 6 | 3290.7179 | 1873.4657 | 1008.6429 | 523.8722 | 267.1137 | 134.89 | 67.7783 | 33.8152 | 16.9786 | 8.4947 | 4.2487 | 2.1297 | 1.0599 | 0.52998 | 0.26999 | 0.13
MAXCOL-No. | 7 | 3137.8942 | 1822.921 | 993.8074 | 519.8417 | 266.0618 | 134.6212 | 67.7104 | 33.7983 | 16.9744 | 8.4936 | 4.2484 | 2.1296 | 1.0599 | 0.52998 | 0.26999 | 0.13
MAXCOL-No. | 8 | 2998.6351 | 1775.032 | 979.402 | 515.8728 | 265.0183 | 134.3535 | 67.6426 | 33.7814 | 16.9701 | 8.4925 | 4.2481 | 2.1295 | 1.0599 | 0.52997 | 0.26999 | 0.13
MAXCOL-No. | 9 | 2871.2113 | 1729.5948 | 965.4083 | 511.964 | 263.9829 | 134.0869 | 67.575 | 33.7645 | 16.9659 | 8.4915 | 4.2479 | 2.1295 | 1.0599 | 0.52997 | 0.26999 | 0.13
MAXCOL-No. | 10 | 2754.1756 | 1686.4256 | 951.8088 | 508.114 | 262.9555 | 133.8213 | 67.5075 | 33.7476 | 16.9616 | 8.4904 | 4.2476 | 2.1294 | 1.0599 | 0.52996 | 0.26999 | 0.13
MAXCOL-No. | 11 | 2646.3073 | 1645.359 | 938.5871 | 504.3214 | 261.9361 | 133.5568 | 67.4401 | 33.7308 | 16.9573 | 8.4893 | 4.2473 | 2.1293 | 1.0598 | 0.52996 | 0.26999 | 0.13
MAXCOL-No. | 12 | 2546.57 | 1606.2448 | 925.7278 | 500.5851 | 260.9246 | 133.2934 | 67.3728 | 33.7139 | 16.9531 | 8.4883 | 4.2471 | 2.1293 | 1.0598 | 0.52995 | 0.26999 | 0.13
MAXCOL-No. | 13 | 2454.0777 | 1568.9471 | 913.216 | 496.9037 | 259.9209 | 133.0309 | 67.3057 | 33.6971 | 16.9488 | 8.4872 | 4.2468 | 2.1292 | 1.0598 | 0.52995 | 0.26999 | 0.13
MAXCOL-No. | 14 | 2368.0686 | 1533.3423 | 901.0379 | 493.2761 | 258.9248 | 132.7695 | 67.2387 | 33.6803 | 16.9446 | 8.4861 | 4.2465 | 2.1291 | 1.0598 | 0.52995 | 0.26999 | 0.13
MAXCOL-No. | 15 | 2287.8842 | 1499.3176 | 889.1804 | 489.701 | 257.9364 | 132.5091 | 67.1719 | 33.6635 | 16.9403 | 8.4851 | 4.2463 | 2.1291 | 1.0598 | 0.52994 | 0.26998 | 0.13
MAXCOL-No. | 16 | 2212.9521 | 1466.7701 | 877.6309 | 486.1774 | 256.9555 | 132.2498 | 67.1052 | 33.6468 | 16.9361 | 8.484 | 4.246 | 2.129 | 1.0598 | 0.52994 | 0.26998 | 0.13
MAXCOL-No. | 17 | 2142.7727 | 1435.6057 | 866.3776 | 482.7041 | 255.982 | 131.9914 | 67.0386 | 33.63 | 16.9318 | 8.4829 | 4.2457 | 2.1289 | 1.0597 | 0.52993 | 0.26998 | 0.13
MAXCOL-No. | 18 | 2076.9077 | 1405.738 | 855.4092 | 479.2801 | 255.0159 | 131.7341 | 66.9722 | 33.6133 | 16.9276 | 8.4819 | 4.2455 | 2.1289 | 1.0597 | 0.52993 | 0.26998 | 0.13
MAXCOL-No. | 19 | 2014.971 | 1377.0878 | 844.715 | 475.9044 | 254.057 | 131.4778 | 66.9058 | 33.5966 | 16.9234 | 8.4808 | 4.2452 | 2.1288 | 1.0597 | 0.52993 | 0.26998 | 0.13
MAXCOL-No. | 20 | 1956.6215 | 1349.5821 | 834.285 | 472.5759 | 253.1053 | 131.2224 | 66.8397 | 33.5799 | 16.9191 | 8.4797 | 4.2449 | 2.1287 | 1.0597 | 0.52992 | 0.26998 | 0.13
MAXCOL-No. | 21 | 1901.5562 | 1323.1537 | 824.1094 | 469.2936 | 252.1607 | 130.9681 | 66.7736 | 33.5632 | 16.9149 | 8.4787 | 4.2447 | 2.1287 | 1.0597 | 0.52992 | 0.26998 | 0.12999
MAXCOL-No. | 22 | 1849.5055 | 1297.7404 | 814.179 | 466.0565 | 251.2232 | 130.7147 | 66.7077 | 33.5465 | 16.9107 | 8.4776 | 4.2444 | 2.1286 | 1.0597 | 0.52991 | 0.26998 | 0.12999
MAXCOL-No. | 23 | 1800.2284 | 1273.285 | 804.485 | 462.8639 | 250.2925 | 130.4623 | 66.6419 | 33.5299 | 16.9064 | 8.4765 | 4.2441 | 2.1285 | 1.0596 | 0.52991 | 0.26998 | 0.12999
MAXCOL-No. | 24 | 1753.509 | 1249.7343 | 795.0192 | 459.7147 | 249.3688 | 130.2109 | 66.5762 | 33.5133 | 16.9022 | 8.4755 | 4.2439 | 2.1285 | 1.0596 | 0.5299 | 0.26998 | 0.12999
MAXCOL-No. | 25 | 1709.1532 | 1227.0389 | 785.7736 | 456.608 | 248.4518 | 129.9604 | 66.5107 | 33.4967 | 16.898 | 8.4744 | 4.2436 | 2.1284 | 1.0596 | 0.5299 | 0.26997 | 0.12999
MAXCOL-No. | 26 | 1666.986 | 1205.1531 | 776.7405 | 453.543 | 247.5416 | 129.7109 | 66.4453 | 33.4801 | 16.8937 | 8.4734 | 4.2433 | 2.1283 | 1.0596 | 0.5299 | 0.26997 | 0.12999
MAXCOL-No. | 27 | 1626.8494 | 1184.0343 | 767.9128 | 450.519 | 246.638 | 129.4624 | 66.38 | 33.4635 | 16.8895 | 8.4723 | 4.2431 | 2.1283 | 1.0596 | 0.52989 | 0.26997 | 0.12999
MAXCOL-No. | 28 | 1588.6001 | 1163.643 | 759.2835 | 447.5349 | 245.741 | 129.2148 | 66.3149 | 33.4469 | 16.8853 | 8.4712 | 4.2428 | 2.1282 | 1.0596 | 0.52989 | 0.26997 | 0.12999
MAXCOL-No. | 29 | 1552.108 | 1143.9421 | 750.8459 | 444.5902 | 244.8505 | 128.9682 | 66.2498 | 33.4304 | 16.8811 | 8.4702 | 4.2425 | 2.1281 | 1.0595 | 0.52988 | 0.26997 | 0.12999
MAXCOL-No. | 30 | 1517.2548 | 1124.8972 | 742.5938 | 441.6839 | 243.9664 | 128.7225 | 66.1849 | 33.4138 | 16.8769 | 8.4691 | 4.2423 | 2.1281 | 1.0595 | 0.52988 | 0.26997 | 0.12999
MAXCOL-No. | 31 | 1483.9326 | 1106.4761 | 734.5211 | 438.8154 | 243.0887 | 128.4777 | 66.1202 | 33.3973 | 16.8726 | 8.468 | 4.242 | 2.128 | 1.0595 | 0.52988 | 0.26997 | 0.12999